## Slide 1: Floor Meeting Talk Outline

## Slide 2: Outline
Hardware and technique developmental journey.
What is multiplexing and its perks and pros/cons of current techniques? (fiducial marks and getting back to same spot) (2 slides)
Spawning idea: Why make machine and desired features (1 slide)
Manufacturing process CAD software, parametric modeling, videos such as 3D printer in action, parts working, how they fit together, etc. ()
Overview of entire system w/ highlighted key features (ie, pinch valve fluidic system, invisi-slip microfluidic device, Arduino communication system, software, microscope itself)
Go into each highlighted key section of system in more detail.
  Microscope (light path super imposed on microscope, real image next to microscope popped out from camera with real dimensions and resolution).
  Software (block diagram of code and software to what controls what w/ pycromanager as the bridge and image processor)
  Arduino communication system (diagram explaining how commands are transferred and the MQTT server and the circuit board w/ arduino)
  Invisi-slip (perks of FEP film, issues with FEP film in manufacturing, Manufacturing pipeline for device, images with and without device)
How to make it all work
  Microscope (reflectance issue, autofocus slide, auto exposure algorithm tree)
  Fluidic system (peristaltic pump flow rate vs RPM, fluidic mixing front graph)
Discovery of new bleaching solution
  Story of Jerry Turner giving me lead and Biotium giving reaction, show minimal results on PubMed
  Alexa 488 kinetics and fit with partial fluor intermediate model
  Panel kinetics w/ fits w/ comps to H2O2 and LiBH4
  Side by side pics of H2O2, LiBH4 and m-CPBA bleached tissue at a fixed time.
Images in action
  Look at gifs of real time stain of tissues and real time bleach of them
  Aggregate images of images with all the stains

## Slide 3: Multiplexing
Imaging sample with more than 4 stains
Codex | Bleaching
Expensive, hard to make constructs | Slow bleaching process, non-user friendly software, directly conjugated antibodies
Thoroughly validated, good working commercial system | Cheap and straight forward protocols
Diagram depicting steps in each process

## Slide 4: Release Flurophore/Antibody
Cyclic method of staining where either the fluorophore or primary antibody is released from the sample and then the sample is restained
Most notable example is the Codex system which uses short DNA segments as linkers between fluorophores and antibodies

## Slide 5
1. Stain
2. Location
Return
3. Image
4. Bleach
Cycle 1:
Villin
DAPI
Cycle 2:
LAMP1
Phalloidin
63x
LSM 880

## Slide 6: CyCIF Issues
10% Glycerin + PBS
Add Cover Slip
Stained Tissue
Remove Cover Slip via
Dipping into PBS
Labor barriers = long and tedious process
Cover Slipping Procedure

## Slide 7: Fiducial Issue
Images in action

## Slide 8: CyCIF Issues
Labor barriers = long and tedious process
Getting back to same spot
(Fiducial mark method)
Cover Slipping
Gifs for both

## Slide 9: Auto-CyPlex Design Goals
Problem | Solution
Returning to same locations for imaging | Keep slide on stage for entire process
Coverslip to prevent dehydration | Image under water w/o coverslip
Goals
Use as much open-source as possible
Intermediate resolution
Maximize Field of View
Ultra Repeatable stage
Wide Field
Incorporate microfluidic system donated from BI

## Slide 10: CAD Designing
FreeCAD (Best open-source CAD software available)
Top View
Upper Left Corner View

## Slide 11: Parametric Modeling
Practice of assigning dimensional values from spreadsheet entries
Multiple dimensional values can be based on spreadsheet entry
Greatly accelerates prototyping process

## Slide 12: 3D Printing Technology
https://gfycat.com/wilddescriptiveisabellineshrike
https://gfycat.com/healthyethicalafricanbushviper
Stereolithography (SLA)
UV cures resin
Undermount LCD panel patterns UV light
Fused Filament Fabrication (FFF)
Heats plastic filament until oozes
Extrudes oozing plastic through nozzle onto object

## Slide 13
“Zoom” into objects in a cyclic fashion to show off features
Camera Chip Size (resolution, physical size, etc.)
Instage chamber
Pinch valve + multiplexor
Peristaltic pump

## Slide 14
Software/Controllers

## Slide 15: Invisi-Slip System
Glass Slide (Tissue side up)
Objective
FEP Film
100um Gap
1600um
2500um
WD
Fluid Flow
Fluid Flow
Smallish volume on top of entire slide surface (about 60uL)
No dilution of stain solution
FEP film has RI =1.333, PBS = 1.33, So if PBS is above and below the FEP film, it is effectively invisible
FEP film is a physical barrier, but not an optical barrier

## Slide 16: File Format
DWG or DXF. DWG is a proprietary file format only for AutoCAD. DXF is the opensource equivalent.
Proprietary file formats are a scam and need to be discouraged to be developed. Use DXF!
While it appears initially that masks will have surfaces, don’t be alarmed that both DWG and DXF don’t have them. Its inherent in the design of those file types. They only save the borders. Don’t worry about making true surfaces due to this. Filling in enclosed surfaces or leaving them open is determined later in the software that generates the masks.
DWG File Format =
“Gimmie all of those subscription fees”
-probably what this guy was thinking
DXF File Format =
The world is now a better place due to the small, but powerful choice you just made.

## Slide 17: FreeCAD Mode
Easy. Just make sketches. No need to extrude them too. Literally just bare sketches.
For organization, I recommend making bodies for each photomask which is done in part designer.
Huge tip. Make them parametric models.

## Slide 18
Final device

## Slide 19: Reflection Issue
Image with 3D printed PLA housing behind slide. 2ms exposure (UV LED)
Image with blackened anodized Al dogtag behind slide. 1000ms exposure (UV LED)

## Slide 20
Anti-Reflective Solution

## Slide 21: Auto Exposure vs Auto Focus: Chicken and Egg Problem
To auto focus properly, I must NOT have an over exposed image
To auto expose properly, I must be in focus
Picture is from: https://stevemouldey.com/2014/07/14/why-does-education-have-so-many-chicken-and-egg-arguments/

## Slide 22: Solution
1. Scan over set Z range

## Slide 23: Solution
2. Determine Relative Image Brightness Levels

## Slide 24: Solution
3. Auto Expose on Brightest Z slice

## Slide 25: Solution
4. Run Auto Focus over same range with determined exposure level

## Slide 26: Solution
5. Run Auto Expose at in focus slice

## Slide 27: First Order Decay graphs Alexa 488

## Slide 28: Second Order Decay Graph Alexa 488

## Slide 29: Bleaching Alexa 647
Structure Alexa 647
Epoxide
Vicinal Diol
Add peroxide
High pH
Prilezhaev
Reaction
Alkene

## Slide 30: Discussion
Its obvious that mCPBA with A488 is a first order reaction, but it gains a second decay term between states of 1mM and 5mM. How could this be? Here is a hypothesis:
A488
+mCPBA
Chemically Altered A488
Fluor
Non-Fluor
End Point Model
This model cannot explain why second decay peak arises
I was told the reaction contained an intermediate though
A488
+mCPBA
A488 epoxide
A488 vicinal diol
+OH
Fluor
Non-Fluor?
Non-Fluor
Fluorescence is my reporter for the reaction. What is the Fluor of each state?

## Slide 31: Discussion
Its obvious that mCPBA with A488 is a first order reaction, but it gains a second decay term between states of 1mM and 5mM. How could this be? Here is a hypothesis:
A488
+mCPBA
Chemically Altered A488
Fluor
Non-Fluor
End Point Model
This model cannot explain why second decay peak arises
I was told the reaction contained an intermediate though
A488
+mCPBA
A488 epoxide
A488 vicinal diol
+OH
Fluor
Partial Fluor
Non-Fluor
Fluorescence is my reporter for the reaction. What is the Fluor of each state?

## Slide 32: Tau Chart
No Significant Bleach
No Significant Bleach
No Significant Bleach

## Slide 33: Direct Conj Cycle 1 Observations and Video
Image is of Alexa 647 Ezrin from 488 is leaking through.
Each frame is 5mins apart, 300ms exposure.

## Slide 34: Time Lapse Int Graph
Stain Box
Background Box
37 minutes is not enough to approach plateau region. At most, 37 min is the start of that region. Not enough data to be confidence though.
Assuming uniform staining, S/N ratio is around 15 as intensity = 2200 and stdev = 150.
Chart: Sig-background vs time
| 2 | 7 | 12 | 17 | 22 | 27 | 32 | 37
 | 547 | 975 | 1235 | 1477 | 1693 | 1894 | 2191 | 2302

## Slide 35: Time Lapse Int Rate Graph
Stain Box
Background Box
Binding kinetics is proportional to [antibody]*[epitopes]
If we assume antibody [C] is in such excess that its number negligibly changes over time, we can estimate % epitopes remaining and thus plateau signal.
Exp decay fit indicates 673 was the initial burst rate and ending rate was 111, that means 83% of epitopes were bound to. This supports initial stance that plateau region was being entered in the Int vs time graph.

## Slide 36
Aggregated image final

## Slide 37: Future
“Smart” focus algorithm. Focus on tissue, disregard junk, adapt to tissue being in multiple planes
New chamber with heating element, magnetic pressure plate and encased magnets.