## Slide 1: 11-30-22 Fluidics Testing

## Slide 2: Details
1:100 all antibodies (45 minutes incubation)
1:5K Hoescht (5 minutes incubation)
2mM mCPBA (2 months old) in pH 11 PBS
Primary-Sec Cycle
  Mouse-ECAD, Rabbit-MUC2
  anti-mouse 647, Anti-Rabbit 488
Direct Conj Cycle 1
  A488-Ezrin
  A647-Gamma Actin
All stains and bleaches were performed 100% with fluidic system

## Slide 3: Direct Conj Cycle 1 Observations and Video
Image is of Alexa 647 which should be gamma actin, however it appears Ezrin from 488 is leaking through. Not sure how.
Each frame is 5mins apart, 300ms exposure.
Ignore the uneven illumination. Its known to be in Non-Kohler excitation

## Slide 4: Time Lapse Int Graph
Stain Box
Background Box
Stain int increase rate appears linear over time, plateau region should exist though
37 minutes is not enough to approach plateau region. At most, 37 min is the start of that region. Not enough data to be confidence though.
Assuming uniform staining, S/N ratio is around 15 as intensity = 2200 and stdev = 150.
Chart: Sig-background vs time
| 2 | 7 | 12 | 17 | 22 | 27 | 32 | 37
 | 547 | 975 | 1235 | 1477 | 1693 | 1894 | 2191 | 2302

## Slide 5: Bleach
30 seconds between frames
2mM mCPBA
1 minute bleaching elapsed before imaging
A647 channel (300ms exposure)
Different location than time lapse
7 minutes bleach occurred in this location
Most likely bubbles in the chamber caused mixing issues where some areas bleached and others did not.

## Slide 6: Direct Cycle Composition Tile Image
Magenta = gamma actin -647
Cyan = Ezrin -488
Gray = Hoescht
Note blebs appear in cyan due to mixing mCPBA w/ PBS and not basic PBS so it never actually bleached. It is leftover MUC2 staining.
Rolling ball subtraction done on all images. 500 pixel radius for A488 and A6457 channels, 75 for Hoescht

## Slide 7: Final Notes/Thoughts
Primary and Secondary staining were weak, but existent. [C] of stain in device need increased.
Larger amounts of fluid can be flowed through chip (400uL vs 250uL). This way we can drive further away from the mixed interface of stain solution and PBS and thus have a higher effective [C]
Bleach solution for prim+secondary stain was faulty as it was mixed with pure PBS and not pH10-11 PBS.
Extra direction conjugation stain solution was added after initial loading and thus introduced large bubbles to system which ended up in chamber and most likely influenced mixing dynamics with the bleach solution

## Slide 8: More kinetics thoughts
Very good fit w/ linear equation. Rate of change would give better kinetics insight.
Remember binding kinetics is proportional to [antibody]*[epitopes]
If we assume antibody [C] is in such excess that its number negligibly changes over time, we can estimate % epitopes remaining and thus plateau signal.
We don’t have super early on kinetics information so our rate fell 168 in the first 5 min change lets assume the second derivative is almost consistent in that time frame to work back with. That means burst kinetics rate were roughly likely 663 AU/min.
If 663 was the initial burst rate and ending rate was 111, that means 83% of epitopes were bound to. This supports initial stance that plateau region was being entered in the Int vs time graph.
Exponential decay should fit data and doesn’t as data is jumpy. This type of analysis should work, but this is very back of envelope right now.
Chart: Rate of Change (signal - background)
| 7 | 12 | 17 | 22 | 27 | 32 | 37
 | 428 | 260 | 242 | 216 | 201 | 297 | 111