## Slide 1: Chamber Design Goals and Issue

## Slide 2: Goals
Small volume constrained to cover any part of slide that may have tissue and be about 200-300uL
Be removable and resealable
Have viewing window that is optically non-interfering with water dipping microscopy

## Slide 3: Current approaches and flaws
Few materials exist that are suitable for the optical window. Thus far I have focused efforts on FEP film. It is ultra cheap, and its RI is virtually that of water’s
Working distance is 2.5mm, so I have built in 2mm as a constraint for total material thickness above the tissue slice.
Approach 1 is focused above the slide. A parafilm gasket is placed directly onto slide, SLA printed upper is placed onto gasket. SLA upper contains two ports and a recessed socket for a window.
Approach 2 involved sinking the slide into a lower housing by a set amount. The lower housing also contained internal pipes that connected to the external ports. The upper housing had a solid piece of FEP film pulled taut across its entire surface. Making the FEP essentially the entire ceiling.

## Slide 4: Approach 1: parafilm gasket on slide
Seal was sufficient if vacuum grease was used
Window was very hard to install. FEP is unglueable, but I found a way to do it. Unfortunately, I could never install it flatly. The ripple in it caused internal volume to be 800-1000uL.
Theoretical volume is good. Parafilm gasket gives very consistent 100um gaps
Pros
sealing
Cons
Difficult window installation
Low control over constraining volume size
Super glue can haze optical window

## Slide 5: Approach 2: Taut FEP upper
This was born out of frustration of the window install for approach 1.
Almost seal. It appeared to seal, but then the slightest back pressure would cause fluid to push through in certain spots
Pros
Easy window install
No super glue = no super glue residue on window
Cons
Lower bound on theoretical constrained volume is kind of high (300uL)
Seal is borderline robust enough

## Slide 6: Take away from approaches 1 and 2
Situation feels like a trade off pyramid, where to make some parameters good, I take away from another.
I think both SLA and FF printing arent flat enough reference surfaces for seals.
Making lower housing out of PDMS instead of SLA resin, may be flat enough to get good seal in approach 2. If upper in approach 1 one is PDMS, might not need gasket or grease
PDMS cannot be imaged through so still need optical window
Optical Window
Constrained Volume
Seal

## Slide 7: Concept model #1
Modified approach 1
Hope to correct window install issues
Core idea: build upper from PDMS. Window install happens by sandwiching FEP film in PDMS when pouring mold and then cure. This eliminates glue and window placement problems.
Potential issues: FEP film is flexible. It might still bow under pressure and significantly alter constrained volume
Seal problems: PDMS alone might be get good enough seal as I cannot plasma treat it due to needing it to be removable.
Potential seal solution: Embed iron oxide dust (very fine) into the PDMS. Place magnets under slide to increase normal force on PDMS
= PDMS
= FEP Film
=Slide
=Tissue
=Port

## Slide 8: Concept model # 2
Core idea: make body of chamber and optical window out of the same material, then no window install must happen.
Bio-133 is a great material for an optical window and acts like PDMS (UV curable instead though) when cured.
Make approach 1 out of bio-133 and have no separate window area as it can be perfectly imaged through.
Potential issues: no idea how well bio-133 seals by itself. Maybe itself or itself with magents and iron oxide dust are enough
Strength: Bio-133 “window” is inflexible giving predictable and stable constrained volume.
= Bio-133
=Slide
=Tissue
=Port

## Slide 9: Iron Oxide enhanced seal
Upper layer is iron oxide mixed into PDMS or Bio-133.
Bottom layer must be pure PDMS or bio-133. This is needed to ensure smoothness
Reference paper: https://www.ncbi.nlm.nih.gov/pmc/articles/PMC5101923/
Note this iron oxide embedded layer would not be over the “viewing window” unlike what the cartoon looks like
= Bio-133 or PDMS
=Slide
=Tissue
=magnet
= PDMS embedded w/ Fe4O3