## Slide 1: Research Update

## Slide 2: Flexi-TEER
Won grant from experiment.com for Flexi-TEER project.

## Slide 4: schematic

## Slide 5: AutoCyPlex Updates
New Fluidic System
New imaging chamber
New illumination system
File System Organization
Auto Exposure Algorithm
Acquisition method update
Post acquisition pipeline
Auto Focus Algorithm

## Slide 6: AutoCyPlex Updates
New Fluidic System
New imaging chamber
New illumination system
File System Organization
Auto Exposure Algorithm
Acquisition method update
Post acquisition pipeline
Auto Focus Algorithm
Air pressure fluidic system replaces peristaltic pinch valve system
Fluidic system image

## Slide 7: AutoCyPlex Updates
New Fluidic System
New imaging chamber
New illumination system
File System Organization
Auto Exposure Algorithm
Acquisition method update
Post acquisition pipeline
Auto Focus Algorithm

## Slide 8
3D Printed Pressure Plate
Pressure Plate Embedded Magnets
Invisi-Slip MicroFluidic Device
Glass Slide
Maxi-Black Antireflective Material
Hard Setting Potting Compound
Positive Temperature Coefficient (PTC) Heating Element
Pressure Plate Chamber Mount Magnetics
Fluidic Device Stabilization Magnets
3D printed Chamber
M6 Mounting Machine Screws
Tilt Stage

## Slide 9: Invisi-Slip microfluidic system (Claim 1)
Water Dipping Objective
3D Printed Pressure Plate
Neodymium Magnets
3D printed Chamber
Positive Temperature Coefficient (PTC) heater
Hard Set Potting Epoxy
Maxi-Black Anti-Reflective Material
Tubing
Fluorinated ethylene propylene (FEP) Film
Iron-Oxide Embedded Polydimethylsiloxane (PDMS)
Tissue
Slide Glass
Water /Fluid

## Slide 10: AutoCyPlex Updates
New Fluidic System
New imaging chamber
New illumination system
File System Organization
Auto Exposure Algorithm
Acquisition method update
Post acquisition pipeline
Auto Focus Algorithm
C60-camera spacer
100 illumination tube
LLG coupler

## Slide 11
New System (LLG) 41% roll off
Leica Thunder, 32% roll off
Old ASI illumination system
New Lumencor LLG Illumination System

## Slide 12: AutoCyPlex Updates
New Fluidic System
New imaging chamber
New illumination system
File System Organization
Auto Exposure Algorithm
Acquisition method update
Post acquisition pipeline
Auto Focus Algorithm
Quick Tiled images are named: placed_cy#_channel.tif
Tile images are named: z_#_x#_y_#_channel.tif
Focused tile images are named x#_y_#_channel.tif
Naming Structures

## Slide 13: Folder Hierarchy
Experiment Folder
Quick Tile
Contains all quick tiled images
DAPI
A488
A555
A647
Stain
cy_1
cy_2
Tiles
Each image is individually saved
Bleach
cy_3
Focused
In focus reconstructed tiles
Numpy
Numpy arrays for focus map and exposures
Mcmicro
Mcmicro input data
Channels
Stain or Bleach Images
Cycle number
Tiled images and individual images
Focused Tile Images

## Slide 14: AutoCyPlex Updates
New Fluidic System
New imaging chamber
New illumination system
File System Organization
Auto Exposure Algorithm
Acquisition method update
Post acquisition pipeline
Auto Focus Algorithm
f
Find derivative
Chart: 99% Max int vs z slice
| 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
 | 0.00014952 | 0.00014209 | 0.00013333 | 0.00012513 | 0.0001178 | 0.00011213 | 0.00010817 | 0.00010673 | 0.00010673 | 0.00010899 | 0.00011287 | 0.00011867 | 0.00012631 | 0.0001343 | 0.00014325 | 0.00015256

## Slide 15: Auto Exposure Algorithm
Start from 100ms exp time
Go to XY tile position
  Take image with given channel
  Check if image is within bounds at the 99% percentile pixel
    If saturated
      reduce exp time by 10x
      retake image and recheck if still saturated.
      Repeat 1-2 until not saturated anymore
      Scale exp to give 10% dynamic range intensity
    If too low
      Scale exp to give 10% dynamic range intensity or 1000ms, which ever one that is lower exposure time
  If not saturated add to exp_calc_array and move to next z point
  Repeat steps 1-4 until all 3 z points are acquired w/ same exp time. Must retake images if needed
  Repeat steps 1-5 until all 4 channels are set
Repeat for all XY position with starting exp time being rolled over from previous XY position
Solve quadratic equation for all three intensity points via gauss Jordan reduction method to solve for all coefficients.
Find intensity that is predicted via derivative of quad equation set to zero and subbed back in.
Cycle through all results as a function of XY position to find the highest predicted intensity after being scaled by exp time.
Take desired intensity/highest intensity to make a scale factor
Take acquired exp time and multiply by new scale factor.
  If new exp time > 2000ms, make = 2000
  If less than 2000ms, don’t alter new exp time

## Slide 16: AutoCyPlex Updates
New Fluidic System
New imaging chamber
New illumination system
File System Organization
Auto Exposure Algorithm
Acquisition method update
Post acquisition pipeline
Auto Focus Algorithm
ZXY(snake)C
ZCXY(snake)

## Slide 17: AutoCyPlex Updates
New Fluidic System
New imaging chamber
New illumination system
File System Organization
Auto Exposure Algorithm
Acquisition method update
Post acquisition pipeline
Auto Focus Algorithm

## Slide 18: Processing Scheme
metadata_generator
metadata_generator
infocus
mcmicro_image_stack_generator
stage_placement
mcmicro
Create new metadata construct from known working xml set
Populate stage coords from saved experiment numpy array for the focus map. Update pixel size as well and frame size
Slice tile images into 10x10 sections and use brenner scores to determine in focus chunks. Use median filter on z plane chunk map to even out anomalies. Output reconstructed in focus tiles into focused folder
Populate mcmicro raw data with in focus tiles and add in metadata as a description
Create quick tile images into quick tile folder via stage coord placement with in focus tiles
Run mcmicro folder with mcmicro to flatten illumination via BaSiC and stitch and align cycles with Ashlar
Python function name. mcmicro is linux program though
Function/program description

## Slide 19: McMicro
= BaSiC image illumination flattening + Ashlar stitching
Raw
Basic Estimator Applied
Ashlar
Stitches and aligns cycles for multiplex applications
BaSiC Demo

## Slide 20: AutoCyPlex Updates
New Fluidic System
New imaging chamber
New illumination system
File System Organization
Auto Exposure Algorithm
Acquisition method update
Post acquisition pipeline
Auto Focus Algorithm

## Slide 21: High Level Block Diagram
XY Coordinates
Obtain XY tile coordinates via micro magellan surface
Choose Tiles
Determine which tiles to focus on
Capture 3 plane images
At each determined tile, capture full frame images from 3 different z planes
Gaps between z planes is predetermined
Break Images into super pixels
Calculate reciprocal Brenner Score
Filter Brenner Score
Divide each image into an array of sub areas dubbed ‘super pixels’
Calculate brenner score for each super pixel and take reciprocal of it
Brenner score is pixel(col, row) – pixel(col + n, row).
Filter out background super pixels via ‘Well Depth’
Make Focus Prediction
Take 3 point reciprocal brenner score, solve quad equation and solve for derivative = 0 to find projected focus position. Use Gauss-Jordan reduction to solve
Fit Plane
Fit best plane to all points (X,Y, Predicted focus z position)
Use outlier dampening loss function to best fit with
Populate Focus Map
Use Plane(XY coordinates) to determine Z position for focus map
Pop FM array with depth of focus across 1 FOV
Z value in FM is top value. Work down when capturing more planes

## Slide 22: FM Array Constructions
9
Number Z slices A647 with depth of focus step sizes
8
Top Z position A647
7
Number Z slices A555 with depth of focus step sizes
6
5
4
3
2
1
0
X positions
Y positions
Top Z position DAPI
Number Z slices DAPI with depth of focus step sizes
Number Z slices A488 with depth of focus step sizes
Top Z position A555
Top Z position A488
Contains all channel info
Numpy array with dimensions (10, y_tiles, x_tiles). X and Y tile count come from Micro Magellan array
Dtype = int16

## Slide 23
5.6 seconds for all processing with 12 tiles

## Slide 24: Loss Function

## Slide 25: Test Run Results