## Slide 2: What is the Spectre-Plex?
Implementation of cyclic bleach multiplexing
In brief, builds up stains on tissue by iteratively staining tissue, imaging and bleaching and then restaining with same fluorophores, but different antibodies
Key additions to method: fluidic device that is reusable + aberration free imaging in water and very fast, microfluidic compatible bleach solution

## Slide 3: New Chamber for GUT-TAGE
Needed flexibility to place invisi-slip fluidic device anywhere lengthwise on slide
Needed more robust alignment jig, durability and repeatability wise
TMA could be in varied locations

## Slide 4: Digital Back Flips for Fluidic System
Unreliability in fluidic system stemming from system freezes and not accepting commands
Python
Frozen Flow meter
Didn’t respond to command
Resend command
Tell power strip to power cycle OB1
Plugged into smart power strip

## Slide 5: Cluster Filtering
Wastes time and storage space to image areas with no tissue.
Segmenting nuclei and dilating creates a binary map of tissue
It also will sporadically create non tissue based clusters which need filtered out
Approach: take X seed clusters and any cluster greater than 10% of the area of the smallest cluster
Unfiltered
Filtered
Filtered + Labelled

## Slide 6: Encoding For Cluster Label
1. = first label
2. Tissue code -
3. = second label
4. Repeat until tissue code = 0
Encode
Decode
Encoding what labels occur in a tile enables each and every TMA to be sequestered into separate tiff stacks in a memory efficient manner.

## Slide 7: HDR Inspired Auto Exposure

## Slide 8: Background
Auto exposure poses difficulties beyond what I originally imagined.
What current companies use:
  Leica-predetermine
  Lunaphore-predetermine
  Bruker-HDR algorithm (Eva-Maria Brinkmann et al 2021 J. Phys. Commun. 5 075016)
Previous approaches of using thresholding to isolate stain pixel pools has proven to be too inconsistent to rely on.
16bit space provides sufficient dynamic range itself if the proper exp time is determined, but its too unreliable to determine it with no prior knowledge.

## Slide 9: What is HDR?
Multi exposures
HDR Image
In traditional photography, several objects may exist in the foreground that are of interest. In this case, some may be brighter than others.
HDR in short is am attempt to increase dynamic range and help us visualize all objects of interest at one time.
Steps are usually:
  Take multiple pictures with different exposure times
  Align images
  Convert from intensity to irradiance via CRF (camera response function)
  Merge all images via weight function
  Twist rendering parameters like gamma and RGB display ratios
This is highly effective in traditional photography as light in these conditions has very little associated error and we care more about visualizing and not quantifying, thus choosing a weight function that picks middling intensities makes everything roughly a similar intensity and thus can be visualized by a human at the same time looking roughly the same brightness.
Fluorescence has different constraints and goals. Especially in the context of the SpectrePlex.
SpectrePlex/Fluorescence Goals
  Preserve relative intensity information
  Poisson Noise limited, weigh towards bright pixels to minimize this
  CRF is extremely linear, thus giving us the function apiori
  All channels are gray scale (no RGB), can and should be freely manipulated independently for visualization.
  No alignment needed

## Slide 10: Miltenyi Biotech HDR Background
This is the first attempt to transform the HDR technique into fluorescence microscopy
TL:DR, it alters the weight function to favor higher pixel values by taking into account Poisson noise. Used stats to figure out deviations from poisson noise when making weight function. Everything else is the same.
Their approach allows objects to be properly exposed and displayed on the same image regardless of true intensity differences ala traditional HDR with no apriori knowledge of the stain.
Weaknesses
  No way to verify relative intensity value accuracies and almost certainly has no negligable distortion of them
  Generating image by image weight curves that can alter intensity ratios means bleached and stain must be subbed before applying algorithm. Thus cannot be run on the fly.
  When compliance function is ramped up, produces artifacts in image. Some might say noise removal, but that is best left to programs like N2V as this looks artificial.

## Slide 11: Our Approach
We focused on designing a version of HDR that accomplished a different goal than the milyani tech one. We wanted to preserve intensity ratios and to use HDR not as a tool to expand the image dynamic range, but instead to act like an auto exposure.
Steps:
  Grab X different exposure time images
  Convert to relative irradiance from intensity via the CRF
  Use exp times to scale each image to what intensity is predicted to be at highest exp time taken
  Use weight function that is inspired by Poisson noise and scaling inaccuracies to merge images together in 32 bit space
  At end of cycle, subtract HDR version of bleached image from stained and compress to 16bit space and record 32bit value for top value in 16bit space

## Slide 12: How linear is linear?
sCMOS cameras are reported to be extremely linear. If this is accurate, we know the CRF without ever needing to measure it in the image.
Below are three charts. They are all based off of images that were gathered in the exact same spot and just had different exposure times which are equal spaced in log space.
Linear linear scale
Log10 Log10 scale
Intersection zone
Log log scale is to exaggerate deviations and its clear that nothing big exists.
Intersection zone is zooming into an area that is around 4k intensity. This area is important as cameras are dual read by 12bit ADCs with different gains. They overlap around the 4k area and that overlap is used to match them ala stitching. This shows that extreme linearity still exists even at its weakest point.

## Slide 13: Exp Offset?
While scales are extremely linear, it does have one interesting effect. The known preprogrammed intensity offset for the camera is 300. At exp time = 0, it should = 300 and it doesn’t. Not even close. Why?
Lets hypothesize that the exp time asked for is not accurate, but is consistent, ie. the difference between Exp1 and Exp2 is repeatable and accurate, but individually they are not accurate.
Instead of a linear plot, lets do the equation:
As a whole, exp_offset = 27.43+-1.2ms
Thus 1ms isn’t actually 1ms exposure and instead more about 28ms

## Slide 14: Extrapolation Accuracy
In a perfect knowledge world, this would have accuracy so high that it wouldn’t matter. In our case the exp offset will play a non-trivial role in the error of extrapolation.
Lets dive into deriving just how much we have.
*(
Lets sub in factors to maximize this error!
How about Poisson Error to exp_offset error ratio?

## Slide 15: Extrapolation Test
Want to verify that the extrapolation error is reflected in the real world
Look at single pixel, extrapolate from 10ms to 1000ms and compare both values.
0.67*1.2 = 859.4 + 856.26 = 1716.0
Thus in this one randomly selected case, the calculated error holds true and our true value fell within the extrapolated number +- error
This isn’t the whole story though. In this case our error was 6.5%. You might ask well that isn’t accurate enough to trust. Remember, I am trying to push the extrapolation boundaries with that one. In the real life application, our final image wont be subjugated to that. It will have a weight curve that favors pixels in the higher range where they have much higher extrapolation accuracy.
For the next part, lets generate a weight curve.

## Slide 16: Weight Curve
We will incorporate two parts into the projected relative S/N ratio which will be the weight curve.
  Poisson Error
  Extrapolation Error
This isn’t too crazy, just figure out S/N ratio. We found noise in the previous section and signal is I
Given exp time is in the equation, we will have 3 different curves for each of the eventual 3 exposure times.

## Slide 17
10ms
150ms
1000ms
150ms
10ms
1000ms

## Slide 18: HDR exposure time choices
This is a tricky one, but really can be described by three parameters: threshold for lowest acceptable pixel value in a single image, minimum and maximum exposure time.
These parameters may not be clear at first. Lets, talk about them in more detail. The first is about establishing a baseline effective S/N for the pixel. If that is 10k counts, then for any pixels I care about in the image, I want it to be at least 10k counts in at least 1 frame and also not be saturated.
Lets explore what this process looks like.
, also in the lowest exp frame, all pixels with at least a count of 1084 will hit 16.7k counts and with 650 counts will hit 10k counts (the min threshold)

## Slide 19: Error Revisited
Previously we addressed that error was about 6.5% when a 10ms pixel with an intensity of 1k was used.
We need to add onto this by making a more accurate realistic estimation as the previous example would not have saturated the 2nd image and thus the final reconstructed image would be much lower. The previous slide demonstrated a much more realistic scenario. To find a max error situation, lets assume we are looking at a pixel that just hit max at the highest exposure time, this way it will leverage the extrapolation the absolute most as the pixel in the highest exposure cannot be used.
Instead of an error over 5% as in the previous framing, we can see that the realistic framing gives us a far more acceptable error.
Poisson Only Error
P and Extrapolation Errors
Notice in this framing that extrapolation error is actually less impactful than poisson error. Max is around extrapolation being about equal with poissons and min is about 68% of poissons.

## Slide 20: Actual Image Fusion
In this I am going to show the 3 images and what their fusion HDR product is
47ms
177ms
827ms
fusion
Nothing stands out, but hard to see details. Lets zoom in!

## Slide 21
47ms
177ms
827ms
Fusion
Notice the image looks nearly identical to the 827ms image. That is as expected as it had by far the highest weight in the addition equation

## Slide 22: Artifacts?
Something interesting can show up when dealing with images where saturation occurs. Lets explore.
This looks patchy and like an artifact. Its easy to see how it exists though. The final exposure time produced a lot of overexposed areas. The areas that aren’t saturated have a higher count then the pixels in exposure time 2. Thus, what we are seeing is a fusion of patches that have differing S/N levels.
To explore further, lets look at line profiles across the images.

## Slide 23
Notice how fusion results in the peak tops looking like the middle exposure and sides like the highest. While looking funny, this should result in the best accuracy of the data.

## Slide 24: What Bleached Cycle matters
Should bleached image from cycle before or cycle of, be used for autofluorescence subtraction?

## Slide 25: Kinetics