## Result sheet
Method name: a488_bleach (Modified)
Application: SparkControl |  |  |  | V2.1
Device: Spark 10M |  |  |  | Serial number: 1503001843
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦CELL:V4.1.4¦MTP:V13.1.5¦FLUOR:V5.1.3¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦GCM:V3.0.2¦INJ:V3.1.1
Date: |  |  |  | 2022-08-11
Time: |  |  |  | 3:09 PM
System |  |  |  | LENCER606TECAN
User |  |  |  | Lencer606Tecan\Lencer 606 Tecan
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent [GRE96ft]
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Kinetic
|  | Fluorescence Bottom Reading |  |  |  | A488
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | A8-A9;F10-F12
Mode | Kinetic
Kinetic cycles |  |  |  | 60
Interval time |  |  |  | 00:00:10 | hh:mm:ss
Mode | Fluorescence Bottom Reading
Name | A488
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 485 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 530 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 125 | Manual
Number of flashes |  |  |  | 30
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 31000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A8-A9;F10-F12
Start Time |  |  |  | 2022-08-11 14:59:22
A488
Time [s] | 0
Temp. [°C] | 33.2
Cycle Nr. | 1 | [11 empty] | 0 | 7965 | 8712 | 8872
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 9.413 | 6406 | 7048 | 6943
A | [7 empty] | 47240 | 744 |  |  |  | 19.407 | 5152 | 5672 | 5499
B | [12 empty] | 29.416 | 4259 | 4661 | 4531
C | [12 empty] | 39.409 | 3585 | 3891 | 3793
D | [12 empty] | 49.415 | 3113 | 3289 | 3221
E | [12 empty] | 59.419 | 2716 | 2875 | 2784
F | [9 empty] | 7965 | 8712 | 8872 | 69.41 | 2357 | 2522 | 2436
G | [12 empty] | 79.407 | 2146 | 2270 | 2199
H | [12 empty] | 89.42 | 1952 | 2049 | 1998
[13 empty] | 99.403 | 1764 | 1881 | 1770
Time [s] | 9.413 | [11 empty] | 109.41 | 1646 | 1742 | 1688
Temp. [°C] | 33.3 | [11 empty] | 119.413 | 1496 | 1654 | 1551
Cycle Nr. | 2 | [11 empty] | 129.409 | 1477 | 1534 | 1489
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 139.409 | 1439 | 1461 | 1374
A | [7 empty] | 47428 | 718 |  |  |  | 149.416 | 1340 | 1349 | 1322
B | [12 empty] | 159.407 | 1252 | 1327 | 1247
C | [12 empty] | 169.419 | 1226 | 1279 | 1249
D | [12 empty] | 179.409 | 1150 | 1199 | 1163
E | [12 empty] | 189.414 | 1108 | 1162 | 1140
F | [9 empty] | 6406 | 7048 | 6943 | 199.407 | 1109 | 1146 | 1092
G | [12 empty] | 209.405 | 1061 | 1124 | 1094
H | [12 empty] | 219.41 | 1040 | 1072 | 1052
[13 empty] | 229.389 | 1039 | 1066 | 1011
Time [s] | 19.407 | [11 empty] | 239.398 | 985 | 1041 | 1001
Temp. [°C] | 33.3 | [11 empty] | 249.389 | 978 | 998 | 982
Cycle Nr. | 3 | [11 empty] | 259.398 | 953 | 990 | 969
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 269.382 | 910 | 986 | 957
A | [7 empty] | 47250 | 759 |  |  |  | 279.394 | 931 | 943 | 964
B | [12 empty] | 289.381 | 914 | 934 | 914
C | [12 empty] | 299.394 | 878 | 954 | 869
D | [12 empty] | 309.388 | 895 | 909 | 880
E | [12 empty] | 319.404 | 908 | 916 | 887
F | [9 empty] | 5152 | 5672 | 5499 | 329.372 | 875 | 890 | 858
G | [12 empty] | 339.381 | 885 | 862 | 850
H | [12 empty] | 349.377 | 872 | 851 | 861
[13 empty] | 359.38 | 847 | 880 | 867
Time [s] | 29.416 | [11 empty] | 369.38 | 852 | 860 | 859
Temp. [°C] | 33.3 | [11 empty] | 379.387 | 844 | 852 | 822
Cycle Nr. | 4 | [11 empty] | 389.392 | 836 | 852 | 821
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 399.387 | 846 | 848 | 815
A | [7 empty] | 47028 | 721 |  |  |  | 409.389 | 825 | 846 | 809
B | [12 empty] | 419.386 | 828 | 843 | 803
C | [12 empty] | 429.399 | 836 | 788 | 798
D | [12 empty] | 439.397 | 842 | 816 | 800
E | [12 empty] | 449.399 | 812 | 822 | 799
F | [9 empty] | 4259 | 4661 | 4531 | 459.389 | 809 | 818 | 805
G | [12 empty] | 469.401 | 789 | 801 | 779
H | [12 empty] | 479.39 | 790 | 802 | 781
[13 empty] | 489.395 | 842 | 782 | 776
Time [s] | 39.409 | [11 empty] | 499.391 | 779 | 791 | 781
Temp. [°C] | 33.3 | [11 empty] | 509.397 | 799 | 793 | 790
Cycle Nr. | 5 | [11 empty] | 519.391 | 775 | 811 | 795
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 529.399 | 764 | 815 | 786
A | [7 empty] | 47107 | 718 |  |  |  | 539.395 | 779 | 776 | 755
B | [12 empty] | 549.404 | 794 | 791 | 750
C | [12 empty] | 559.395 | 767 | 763 | 762
D | [12 empty] | 569.399 | 782 | 774 | 773
E | [12 empty] | 579.405 | 787 | 780 | 750
F | [9 empty] | 3585 | 3891 | 3793 | 589.387 | 798 | 772 | 752
G | [12 empty] | 0 | 0 | 0 | 0
H | [12 empty] | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0
Time [s] | 49.415 | [11 empty] | 0 | 0 | 0 | 0
Temp. [°C] | 33.3 | [11 empty] | 0 | 0 | 0 | 0
Cycle Nr. | 6 | [11 empty] | 0 | 0 | 0 | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0 | 0 | 0 | 0
A | [7 empty] | 47395 | 750 |  |  |  | 0 | 0 | 0 | 0
B | [12 empty] | 0 | 0 | 0 | 0
C | [12 empty] | 0 | 0 | 0 | 0
D | [12 empty] | 0 | 0 | 0 | 0
E | [12 empty] | 0 | 0 | 0 | 0
F | [9 empty] | 3113 | 3289 | 3221 | 0 | 0 | 0 | 0
G | [12 empty] | 0 | 0 | 0 | 0
H | [12 empty] | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0
Time [s] | 59.419 | [11 empty] | 0 | 0 | 0 | 0
Temp. [°C] | 33.2 | [11 empty] | 0 | 0 | 0 | 0
Cycle Nr. | 7 | [11 empty] | 0 | 0 | 0 | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0 | 0 | 0 | 0
A | [7 empty] | 47030 | 735 |  |  |  | 0 | 0 | 0 | 0
B | [12 empty] | 0 | 0 | 0 | 0
C | [12 empty] | 0 | 0 | 0 | 0
D | [12 empty] | 0 | 0 | 0 | 0
E | [12 empty] | 0 | 0 | 0 | 0
F | [9 empty] | 2716 | 2875 | 2784 | 0 | 0 | 0 | 0
G | [12 empty] | 0 | 0 | 0 | 0
H | [12 empty] | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0
Time [s] | 69.41 | [11 empty] | 0 | 0 | 0 | 0
Temp. [°C] | 33.2 | [11 empty] | 0 | 0 | 0 | 0
Cycle Nr. | 8 | [11 empty] | 0 | 0 | 0 | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0 | 0 | 0 | 0
A | [7 empty] | 47167 | 749 |  |  |  | 0 | 0 | 0 | 0
B | [12 empty] | 0 | 0 | 0 | 0
C | [12 empty] | 0 | 0 | 0 | 0
D | [12 empty] | 0 | 0 | 0 | 0
E | [12 empty] | 0 | 0 | 0 | 0
F | [9 empty] | 2357 | 2522 | 2436 | 0 | 0 | 0 | 0
G | [12 empty] | 0 | 0 | 0 | 0
H | [12 empty] | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0
Time [s] | 79.407 | [11 empty] | 0 | 0 | 0 | 0
Temp. [°C] | 33.3 | [11 empty] | 0 | 0 | 0 | 0
Cycle Nr. | 9 | [11 empty] | 0 | 0 | 0 | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0 | 0 | 0 | 0
A | [7 empty] | 47413 | 747 |  |  |  | 0 | 0 | 0 | 0
B | [12 empty] | 0 | 0 | 0 | 0
C | [12 empty] | 0 | 0 | 0 | 0
D | [12 empty] | 0 | 0 | 0 | 0
E | [12 empty] | 0 | 0 | 0 | 0
F | [9 empty] | 2146 | 2270 | 2199 | 0 | 0 | 0 | 0
G | [12 empty] | 0 | 0 | 0 | 0
H | [12 empty] | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0
Time [s] | 89.42 | [11 empty] | 0 | 0 | 0 | 0
Temp. [°C] | 33.3 | [11 empty] | 0 | 0 | 0 | 0
Cycle Nr. | 10 | [11 empty] | 0 | 0 | 0 | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0 | 0 | 0 | 0
A | [7 empty] | 47403 | 701 |  |  |  | 0 | 0 | 0 | 0
B | [12 empty] | 0 | 0 | 0 | 0
C | [12 empty] | 0 | 0 | 0 | 0
D | [12 empty] | 0 | 0 | 0 | 0
E | [12 empty] | 0 | 0 | 0 | 0
F | [9 empty] | 1952 | 2049 | 1998 | 0 | 0 | 0 | 0
G | [12 empty] | 0 | 0 | 0 | 0
H | [12 empty] | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0
Time [s] | 99.403 | [11 empty] | 0 | 0 | 0 | 0
Temp. [°C] | 33.3 | [11 empty] | 0 | 0 | 0 | 0
Cycle Nr. | 11 | [11 empty] | 0 | 0 | 0 | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0 | 0 | 0 | 0
A | [7 empty] | 47634 | 726 |  |  |  | 0 | 0 | 0 | 0
B | [12 empty] | 0 | 0 | 0 | 0
C | [12 empty] | 0 | 0 | 0 | 0
D | [12 empty] | 0 | 0 | 0 | 0
E | [12 empty] | 0 | 0 | 0 | 0
F | [9 empty] | 1764 | 1881 | 1770 | 0 | 0 | 0 | 0
G | [12 empty] | 0 | 0 | 0 | 0
H | [12 empty] | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0
Time [s] | 109.41 | [11 empty] | 0 | 0 | 0 | 0
Temp. [°C] | 33.2 | [11 empty] | 0 | 0 | 0 | 0
Cycle Nr. | 12 | [11 empty] | 0 | 0 | 0 | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0 | 0 | 0 | 0
A | [7 empty] | 46942 | 747 |  |  |  | 0 | 0 | 0 | 0
B | [12 empty] | 0 | 0 | 0 | 0
C | [12 empty] | 0 | 0 | 0 | 0
D | [12 empty] | 0 | 0 | 0 | 0
E | [12 empty] | 0 | 0 | 0 | 0
F | [9 empty] | 1646 | 1742 | 1688 | 0 | 0 | 0 | 0
G | [12 empty] | 0 | 0 | 0 | 0
H | [12 empty] | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0
Time [s] | 119.413 | [11 empty] | 0 | 0 | 0 | 0
Temp. [°C] | 33.3 | [11 empty] | 0 | 0 | 0 | 0
Cycle Nr. | 13 | [11 empty] | 0 | 0 | 0 | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0 | 0 | 0 | 0
A | [7 empty] | 46788 | 741 |  |  |  | 0 | 0 | 0 | 0
B | [12 empty] | 0 | 0 | 0 | 0
C | [12 empty] | 0 | 0 | 0 | 0
D | [12 empty] | 0 | 0 | 0 | 0
E | [12 empty] | 0 | 0 | 0 | 0
F | [9 empty] | 1496 | 1654 | 1551 | 0 | 0 | 0 | 0
G | [12 empty] | 0 | 0 | 0 | 0
H | [12 empty] | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0
Time [s] | 129.409 | [11 empty] | 0 | 0 | 0 | 0
Temp. [°C] | 33.3 | [11 empty] | 0 | 0 | 0 | 0
Cycle Nr. | 14 | [11 empty] | 0 | 0 | 0 | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0 | 0 | 0 | 0
A | [7 empty] | 46802 | 742 |  |  |  | 0 | 0 | 0 | 0
B | [12 empty] | 0 | 0 | 0 | 0
C | [12 empty] | 0 | 0 | 0 | 0
D | [12 empty] | 0 | 0 | 0 | 0
E | [12 empty] | 0 | 0 | 0 | 0
F | [9 empty] | 1477 | 1534 | 1489 | 0 | 0 | 0 | 0
G | [12 empty] | 0 | 0 | 0 | 0
H | [12 empty] | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0
Time [s] | 139.409 | [11 empty] | 0 | 0 | 0 | 0
Temp. [°C] | 33.3
Cycle Nr. | 15
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46942 | 741
B
C
D
E
F | [9 empty] | 1439 | 1461 | 1374
G
H
Time [s] | 149.416
Temp. [°C] | 33.2
Cycle Nr. | 16
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47138 | 747
B
C
D
E
F | [9 empty] | 1340 | 1349 | 1322
G
H
Time [s] | 159.407
Temp. [°C] | 33.3
Cycle Nr. | 17
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47599 | 736
B
C
D
E
F | [9 empty] | 1252 | 1327 | 1247
G
H
Time [s] | 169.419
Temp. [°C] | 33.3
Cycle Nr. | 18
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47275 | 741
B
C
D
E
F | [9 empty] | 1226 | 1279 | 1249
G
H
Time [s] | 179.409
Temp. [°C] | 33.3
Cycle Nr. | 19
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47381 | 762
B
C
D
E
F | [9 empty] | 1150 | 1199 | 1163
G
H
Time [s] | 189.414
Temp. [°C] | 33.2
Cycle Nr. | 20
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47229 | 735
B
C
D
E
F | [9 empty] | 1108 | 1162 | 1140
G
H
Time [s] | 199.407
Temp. [°C] | 33.3
Cycle Nr. | 21
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47174 | 743
B
C
D
E
F | [9 empty] | 1109 | 1146 | 1092
G
H
Time [s] | 209.405
Temp. [°C] | 33.3
Cycle Nr. | 22
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46869 | 743
B
C
D
E
F | [9 empty] | 1061 | 1124 | 1094
G
H
Time [s] | 219.41
Temp. [°C] | 33.3
Cycle Nr. | 23
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46890 | 747
B
C
D
E
F | [9 empty] | 1040 | 1072 | 1052
G
H
Time [s] | 229.389
Temp. [°C] | 33.3
Cycle Nr. | 24
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47299 | 725
B
C
D
E
F | [9 empty] | 1039 | 1066 | 1011
G
H
Time [s] | 239.398
Temp. [°C] | 33.3
Cycle Nr. | 25
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47176 | 725
B
C
D
E
F | [9 empty] | 985 | 1041 | 1001
G
H
Time [s] | 249.389
Temp. [°C] | 33.3
Cycle Nr. | 26
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46771 | 748
B
C
D
E
F | [9 empty] | 978 | 998 | 982
G
H
Time [s] | 259.398
Temp. [°C] | 33.3
Cycle Nr. | 27
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47387 | 741
B
C
D
E
F | [9 empty] | 953 | 990 | 969
G
H
Time [s] | 269.382
Temp. [°C] | 33.3
Cycle Nr. | 28
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46782 | 750
B
C
D
E
F | [9 empty] | 910 | 986 | 957
G
H
Time [s] | 279.394
Temp. [°C] | 33.3
Cycle Nr. | 29
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47005 | 721
B
C
D
E
F | [9 empty] | 931 | 943 | 964
G
H
Time [s] | 289.381
Temp. [°C] | 33.3
Cycle Nr. | 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47010 | 743
B
C
D
E
F | [9 empty] | 914 | 934 | 914
G
H
Time [s] | 299.394
Temp. [°C] | 33.3
Cycle Nr. | 31
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47146 | 740
B
C
D
E
F | [9 empty] | 878 | 954 | 869
G
H
Time [s] | 309.388
Temp. [°C] | 33.3
Cycle Nr. | 32
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46929 | 739
B
C
D
E
F | [9 empty] | 895 | 909 | 880
G
H
Time [s] | 319.404
Temp. [°C] | 33.3
Cycle Nr. | 33
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47425 | 723
B
C
D
E
F | [9 empty] | 908 | 916 | 887
G
H
Time [s] | 329.372
Temp. [°C] | 33.3
Cycle Nr. | 34
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46933 | 709
B
C
D
E
F | [9 empty] | 875 | 890 | 858
G
H
Time [s] | 339.381
Temp. [°C] | 33.3
Cycle Nr. | 35
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46690 | 750
B
C
D
E
F | [9 empty] | 885 | 862 | 850
G
H
Time [s] | 349.377
Temp. [°C] | 33.3
Cycle Nr. | 36
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46849 | 725
B
C
D
E
F | [9 empty] | 872 | 851 | 861
G
H
Time [s] | 359.38
Temp. [°C] | 33.3
Cycle Nr. | 37
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47053 | 732
B
C
D
E
F | [9 empty] | 847 | 880 | 867
G
H
Time [s] | 369.38
Temp. [°C] | 33.3
Cycle Nr. | 38
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47139 | 749
B
C
D
E
F | [9 empty] | 852 | 860 | 859
G
H
Time [s] | 379.387
Temp. [°C] | 33.3
Cycle Nr. | 39
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46645 | 750
B
C
D
E
F | [9 empty] | 844 | 852 | 822
G
H
Time [s] | 389.392
Temp. [°C] | 33.3
Cycle Nr. | 40
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46861 | 745
B
C
D
E
F | [9 empty] | 836 | 852 | 821
G
H
Time [s] | 399.387
Temp. [°C] | 33.3
Cycle Nr. | 41
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47241 | 742
B
C
D
E
F | [9 empty] | 846 | 848 | 815
G
H
Time [s] | 409.389
Temp. [°C] | 33.3
Cycle Nr. | 42
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46885 | 744
B
C
D
E
F | [9 empty] | 825 | 846 | 809
G
H
Time [s] | 419.386
Temp. [°C] | 33.3
Cycle Nr. | 43
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47132 | 751
B
C
D
E
F | [9 empty] | 828 | 843 | 803
G
H
Time [s] | 429.399
Temp. [°C] | 33.3
Cycle Nr. | 44
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46920 | 722
B
C
D
E
F | [9 empty] | 836 | 788 | 798
G
H
Time [s] | 439.397
Temp. [°C] | 33.3
Cycle Nr. | 45
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47084 | 731
B
C
D
E
F | [9 empty] | 842 | 816 | 800
G
H
Time [s] | 449.399
Temp. [°C] | 33.3
Cycle Nr. | 46
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47333 | 734
B
C
D
E
F | [9 empty] | 812 | 822 | 799
G
H
Time [s] | 459.389
Temp. [°C] | 33.3
Cycle Nr. | 47
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46449 | 738
B
C
D
E
F | [9 empty] | 809 | 818 | 805
G
H
Time [s] | 469.401
Temp. [°C] | 33.3
Cycle Nr. | 48
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47289 | 745
B
C
D
E
F | [9 empty] | 789 | 801 | 779
G
H
Time [s] | 479.39
Temp. [°C] | 33.3
Cycle Nr. | 49
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46850 | 739
B
C
D
E
F | [9 empty] | 790 | 802 | 781
G
H
Time [s] | 489.395
Temp. [°C] | 33.3
Cycle Nr. | 50
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46699 | 731
B
C
D
E
F | [9 empty] | 842 | 782 | 776
G
H
Time [s] | 499.391
Temp. [°C] | 33.3
Cycle Nr. | 51
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46947 | 747
B
C
D
E
F | [9 empty] | 779 | 791 | 781
G
H
Time [s] | 509.397
Temp. [°C] | 33.3
Cycle Nr. | 52
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46495 | 734
B
C
D
E
F | [9 empty] | 799 | 793 | 790
G
H
Time [s] | 519.391
Temp. [°C] | 33.4
Cycle Nr. | 53
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46426 | 715
B
C
D
E
F | [9 empty] | 775 | 811 | 795
G
H
Time [s] | 529.399
Temp. [°C] | 33.4
Cycle Nr. | 54
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46950 | 744
B
C
D
E
F | [9 empty] | 764 | 815 | 786
G
H
Time [s] | 539.395
Temp. [°C] | 33.4
Cycle Nr. | 55
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46833 | 759
B
C
D
E
F | [9 empty] | 779 | 776 | 755
G
H
Time [s] | 549.404
Temp. [°C] | 33.4
Cycle Nr. | 56
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46486 | 718
B
C
D
E
F | [9 empty] | 794 | 791 | 750
G
H
Time [s] | 559.395
Temp. [°C] | 33.4
Cycle Nr. | 57
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46945 | 732
B
C
D
E
F | [9 empty] | 767 | 763 | 762
G
H
Time [s] | 569.399
Temp. [°C] | 33.4
Cycle Nr. | 58
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46500 | 748
B
C
D
E
F | [9 empty] | 782 | 774 | 773
G
H
Time [s] | 579.405
Temp. [°C] | 33.4
Cycle Nr. | 59
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46654 | 728
B
C
D
E
F | [9 empty] | 787 | 780 | 750
G
H
Time [s] | 589.387
Temp. [°C] | 33.4
Cycle Nr. | 60
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47226 | 762
B
C
D
E
F | [9 empty] | 798 | 772 | 752
G
H
End Time |  |  |  | 2022-08-11 15:09:23