## Result sheet
Method name: a488_bleach (Modified)
Application: SparkControl |  |  |  | V2.1
Device: Spark 10M |  |  |  | Serial number: 1503001843
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦CELL:V4.1.4¦MTP:V13.1.5¦FLUOR:V5.1.3¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7¦GCM:V3.0.2¦INJ:V3.1.1
Date: |  |  |  | 2022-08-11
Time: |  |  |  | 2:56 PM
System |  |  |  | LENCER606TECAN
User |  |  |  | Lencer606Tecan\Lencer 606 Tecan
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent [GRE96ft]
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Kinetic
|  | Fluorescence Bottom Reading |  |  |  | A488
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | A8-A9;E10-E12
Mode | Kinetic
Kinetic cycles |  |  |  | 60
Interval time |  |  |  | 00:00:10 | hh:mm:ss
Mode | Fluorescence Bottom Reading
Name | A488
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 485 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 530 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 125 | Manual
Number of flashes |  |  |  | 30
Integration time |  |  |  | 40 | µs | [8 empty] | 0 | 14470 | 16494 | 16027
Lag time |  |  |  | 0 | µs | [8 empty] | 9.368 | 11673 | 13409 | 12899
Settle time |  |  |  | 0 | ms | [8 empty] | 19.354 | 9671 | 10951 | 10500
Z-Position |  |  |  | 31000 | µm | [8 empty] | 29.353 | 7967 | 9031 | 8593
Z-Position mode |  |  |  | Manual | [9 empty] | 39.356 | 6617 | 7618 | 7184
Part of Plate |  |  |  | A8-A9;E10-E12 | [9 empty] | 49.356 | 5568 | 6480 | 6052
[14 empty] | 59.36 | 4810 | 5478 | 5135
Start Time |  |  |  | 2022-08-11 14:46:40 | [9 empty] | 69.375 | 4117 | 4743 | 4479
[14 empty] | 79.355 | 3635 | 4088 | 3839
A488 | [13 empty] | 89.368 | 3215 | 3636 | 3420
Time [s] | 0 | [12 empty] | 99.356 | 2880 | 3238 | 3006
Temp. [°C] | 33.1 | [12 empty] | 109.364 | 2563 | 2927 | 2734
Cycle Nr. | 1 | [12 empty] | 119.367 | 2338 | 2696 | 2409
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 14470 | 129.365 | 2176 | 2466 | 2258
A | [7 empty] | 47741 | 745 |  |  |  | 11673 | 139.366 | 2017 | 2258 | 2116
B | [12 empty] | 9671 | 149.371 | 1868 | 2143 | 1936
C | [13 empty] | 159.37 | 1780 | 1953 | 1806
D | [13 empty] | 169.372 | 1662 | 1831 | 1668
E | [9 empty] | 14470 | 16494 | 16027 |  | 179.37 | 1598 | 1731 | 1601
F | [13 empty] | 189.368 | 1559 | 1593 | 1559
G | [13 empty] | 199.369 | 1476 | 1573 | 1523
H | [13 empty] | 209.366 | 1396 | 1515 | 1403
[14 empty] | 219.371 | 1334 | 1409 | 1376
Time [s] | 9.368 | [12 empty] | 229.37 | 1299 | 1370 | 1269
Temp. [°C] | 33.2 | [12 empty] | 239.382 | 1282 | 1335 | 1253
Cycle Nr. | 2 | [12 empty] | 249.374 | 1231 | 1265 | 1217
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 259.372 | 1196 | 1221 | 1190
A | [7 empty] | 47319 | 729 |  |  |  |  | 269.378 | 1172 | 1234 | 1148
B | [13 empty] | 279.373 | 1115 | 1176 | 1131
C | [13 empty] | 289.372 | 1134 | 1149 | 1107
D | [13 empty] | 299.377 | 1065 | 1115 | 1059
E | [9 empty] | 11673 | 13409 | 12899 |  | 309.369 | 1079 | 1113 | 1076
F | [13 empty] | 319.37 | 1006 | 1057 | 1032
G | [13 empty] | 329.37 | 1033 | 1039 | 1026
H | [13 empty] | 339.36 | 1032 | 1023 | 990
[14 empty] | 349.361 | 1006 | 1001 | 976
Time [s] | 19.354 | [12 empty] | 359.361 | 967 | 1011 | 967
Temp. [°C] | 33.1 | [12 empty] | 369.357 | 990 | 972 | 963
Cycle Nr. | 3 | [12 empty] | 379.357 | 973 | 965 | 920
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 389.362 | 949 | 934 | 913
A | [7 empty] | 47512 | 735 |  |  |  |  | 399.358 | 909 | 942 | 929
B | [13 empty] | 409.378 | 923 | 943 | 915
C | [13 empty] | 419.358 | 915 | 917 | 899
D | [13 empty] | 429.361 | 899 | 929 | 870
E | [9 empty] | 9671 | 10951 | 10500 |  | 439.34 | 891 | 908 | 883
F | [13 empty] | 449.353 | 894 | 908 | 904
G | [13 empty] | 459.35 | 865 | 880 | 871
H | [13 empty] | 469.349 | 877 | 855 | 860
[14 empty] | 479.351 | 840 | 876 | 852
Time [s] | 29.353 | [12 empty] | 489.34 | 861 | 876 | 847
Temp. [°C] | 33.2 | [12 empty] | 499.326 | 849 | 838 | 864
Cycle Nr. | 4 | [12 empty] | 509.328 | 862 | 843 | 805
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 519.332 | 862 | 854 | 827
A | [7 empty] | 47527 | 724 |  |  |  |  | 529.328 | 844 | 832 | 800
B | [13 empty] | 539.331 | 812 | 838 | 833
C | [13 empty] | 549.341 | 826 | 851 | 794
D | [13 empty] | 559.335 | 803 | 828 | 811
E | [9 empty] | 7967 | 9031 | 8593 |  | 569.329 | 813 | 811 | 806
F | [13 empty] | 579.343 | 829 | 805 | 795
G | [13 empty] | 589.338 | 819 | 823 | 782
H | [14 empty] | 0
0
Time [s] | 39.356 | [13 empty] | 0
Temp. [°C] | 33.1 | [13 empty] | 0
Cycle Nr. | 5 | [13 empty] | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 0
A | [7 empty] | 47736 | 738 | [5 empty] | 0
B | [14 empty] | 0
C | [14 empty] | 0
D | [14 empty] | 0
E | [9 empty] | 6617 | 7618 | 7184 |  |  | 0
F | [14 empty] | 0
G | [14 empty] | 0
H | [14 empty] | 0
0
Time [s] | 49.356 | [13 empty] | 0
Temp. [°C] | 33.1 | [13 empty] | 0
Cycle Nr. | 6 | [13 empty] | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 0
A | [7 empty] | 47788 | 732 | [5 empty] | 0
B | [14 empty] | 0
C | [14 empty] | 0
D | [14 empty] | 0
E | [9 empty] | 5568 | 6480 | 6052 |  |  | 0
F | [14 empty] | 0
G | [14 empty] | 0
H | [14 empty] | 0
0
Time [s] | 59.36 | [13 empty] | 0
Temp. [°C] | 33.1 | [13 empty] | 0
Cycle Nr. | 7 | [13 empty] | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 0
A | [7 empty] | 47744 | 752 | [5 empty] | 0
B | [14 empty] | 0
C | [14 empty] | 0
D | [14 empty] | 0
E | [9 empty] | 4810 | 5478 | 5135 |  |  | 0
F | [14 empty] | 0
G | [14 empty] | 0
H | [14 empty] | 0
0
Time [s] | 69.375 | [13 empty] | 0
Temp. [°C] | 33.1 | [13 empty] | 0
Cycle Nr. | 8 | [13 empty] | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 0
A | [7 empty] | 47884 | 741 | [5 empty] | 0
B | [14 empty] | 0
C | [14 empty] | 0
D | [14 empty] | 0
E | [9 empty] | 4117 | 4743 | 4479 |  |  | 0
F | [14 empty] | 0
G | [14 empty] | 0
H | [14 empty] | 0
0
Time [s] | 79.355 | [13 empty] | 0
Temp. [°C] | 33.1 | [13 empty] | 0
Cycle Nr. | 9 | [13 empty] | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 0
A | [7 empty] | 47574 | 759 | [5 empty] | 0
B | [14 empty] | 0
C | [14 empty] | 0
D | [14 empty] | 0
E | [9 empty] | 3635 | 4088 | 3839 |  |  | 0
F | [14 empty] | 0
G | [14 empty] | 0
H | [14 empty] | 0
0
Time [s] | 89.368 | [13 empty] | 0
Temp. [°C] | 33.1 | [13 empty] | 0
Cycle Nr. | 10 | [13 empty] | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 0
A | [7 empty] | 47718 | 743 | [5 empty] | 0
B | [14 empty] | 0
C | [14 empty] | 0
D | [14 empty] | 0
E | [9 empty] | 3215 | 3636 | 3420 |  |  | 0
F | [14 empty] | 0
G | [14 empty] | 0
H | [14 empty] | 0
0
Time [s] | 99.356 | [13 empty] | 0
Temp. [°C] | 33.1 | [13 empty] | 0
Cycle Nr. | 11 | [13 empty] | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 0
A | [7 empty] | 48025 | 745 | [5 empty] | 0
B | [14 empty] | 0
C | [14 empty] | 0
D | [14 empty] | 0
E | [9 empty] | 2880 | 3238 | 3006 |  |  | 0
F | [14 empty] | 0
G | [14 empty] | 0
H | [14 empty] | 0
0
Time [s] | 109.364 | [13 empty] | 0
Temp. [°C] | 33.1 | [13 empty] | 0
Cycle Nr. | 12 | [13 empty] | 0
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 0
A | [7 empty] | 48014 | 742 | [5 empty] | 0
B | [14 empty] | 0
C | [14 empty] | 0
D | [14 empty] | 0
E | [9 empty] | 2563 | 2927 | 2734 |  |  | 0
F | [14 empty] | 0
G | [14 empty] | 0
H | [14 empty] | 0
0
Time [s] | 119.367 | [13 empty] | 0
Temp. [°C] | 33.1
Cycle Nr. | 13
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47822 | 733
B
C
D
E | [9 empty] | 2338 | 2696 | 2409
F
G
H
Time [s] | 129.365
Temp. [°C] | 33.1
Cycle Nr. | 14
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47864 | 739
B
C
D
E | [9 empty] | 2176 | 2466 | 2258
F
G
H
Time [s] | 139.366
Temp. [°C] | 33.1
Cycle Nr. | 15
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 48287 | 740
B
C
D
E | [9 empty] | 2017 | 2258 | 2116
F
G
H
Time [s] | 149.371
Temp. [°C] | 33.1
Cycle Nr. | 16
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 48010 | 737
B
C
D
E | [9 empty] | 1868 | 2143 | 1936
F
G
H
Time [s] | 159.37
Temp. [°C] | 33.1
Cycle Nr. | 17
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47720 | 713
B
C
D
E | [9 empty] | 1780 | 1953 | 1806
F
G
H
Time [s] | 169.372
Temp. [°C] | 33.1
Cycle Nr. | 18
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47165 | 761
B
C
D
E | [9 empty] | 1662 | 1831 | 1668
F
G
H
Time [s] | 179.37
Temp. [°C] | 33.1
Cycle Nr. | 19
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47746 | 731
B
C
D
E | [9 empty] | 1598 | 1731 | 1601
F
G
H
Time [s] | 189.368
Temp. [°C] | 33.1
Cycle Nr. | 20
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47939 | 697
B
C
D
E | [9 empty] | 1559 | 1593 | 1559
F
G
H
Time [s] | 199.369
Temp. [°C] | 33.1
Cycle Nr. | 21
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47494 | 724
B
C
D
E | [9 empty] | 1476 | 1573 | 1523
F
G
H
Time [s] | 209.366
Temp. [°C] | 33.1
Cycle Nr. | 22
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47663 | 732
B
C
D
E | [9 empty] | 1396 | 1515 | 1403
F
G
H
Time [s] | 219.371
Temp. [°C] | 33.1
Cycle Nr. | 23
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47311 | 716
B
C
D
E | [9 empty] | 1334 | 1409 | 1376
F
G
H
Time [s] | 229.37
Temp. [°C] | 33.1
Cycle Nr. | 24
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47497 | 728
B
C
D
E | [9 empty] | 1299 | 1370 | 1269
F
G
H
Time [s] | 239.382
Temp. [°C] | 33.1
Cycle Nr. | 25
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47935 | 745
B
C
D
E | [9 empty] | 1282 | 1335 | 1253
F
G
H
Time [s] | 249.374
Temp. [°C] | 33.1
Cycle Nr. | 26
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 48053 | 730
B
C
D
E | [9 empty] | 1231 | 1265 | 1217
F
G
H
Time [s] | 259.372
Temp. [°C] | 33.1
Cycle Nr. | 27
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47836 | 761
B
C
D
E | [9 empty] | 1196 | 1221 | 1190
F
G
H
Time [s] | 269.378
Temp. [°C] | 33.1
Cycle Nr. | 28
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47506 | 734
B
C
D
E | [9 empty] | 1172 | 1234 | 1148
F
G
H
Time [s] | 279.373
Temp. [°C] | 33.1
Cycle Nr. | 29
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 48074 | 733
B
C
D
E | [9 empty] | 1115 | 1176 | 1131
F
G
H
Time [s] | 289.372
Temp. [°C] | 33.1
Cycle Nr. | 30
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47497 | 743
B
C
D
E | [9 empty] | 1134 | 1149 | 1107
F
G
H
Time [s] | 299.377
Temp. [°C] | 33.1
Cycle Nr. | 31
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47338 | 719
B
C
D
E | [9 empty] | 1065 | 1115 | 1059
F
G
H
Time [s] | 309.369
Temp. [°C] | 33.1
Cycle Nr. | 32
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47163 | 747
B
C
D
E | [9 empty] | 1079 | 1113 | 1076
F
G
H
Time [s] | 319.37
Temp. [°C] | 33.1
Cycle Nr. | 33
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 48157 | 719
B
C
D
E | [9 empty] | 1006 | 1057 | 1032
F
G
H
Time [s] | 329.37
Temp. [°C] | 33.1
Cycle Nr. | 34
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47478 | 721
B
C
D
E | [9 empty] | 1033 | 1039 | 1026
F
G
H
Time [s] | 339.36
Temp. [°C] | 33.1
Cycle Nr. | 35
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47146 | 764
B
C
D
E | [9 empty] | 1032 | 1023 | 990
F
G
H
Time [s] | 349.361
Temp. [°C] | 33.1
Cycle Nr. | 36
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47323 | 738
B
C
D
E | [9 empty] | 1006 | 1001 | 976
F
G
H
Time [s] | 359.361
Temp. [°C] | 33.1
Cycle Nr. | 37
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47568 | 709
B
C
D
E | [9 empty] | 967 | 1011 | 967
F
G
H
Time [s] | 369.357
Temp. [°C] | 33.1
Cycle Nr. | 38
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46913 | 745
B
C
D
E | [9 empty] | 990 | 972 | 963
F
G
H
Time [s] | 379.357
Temp. [°C] | 33.1
Cycle Nr. | 39
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47545 | 747
B
C
D
E | [9 empty] | 973 | 965 | 920
F
G
H
Time [s] | 389.362
Temp. [°C] | 33.1
Cycle Nr. | 40
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47741 | 710
B
C
D
E | [9 empty] | 949 | 934 | 913
F
G
H
Time [s] | 399.358
Temp. [°C] | 33.1
Cycle Nr. | 41
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47086 | 719
B
C
D
E | [9 empty] | 909 | 942 | 929
F
G
H
Time [s] | 409.378
Temp. [°C] | 33.1
Cycle Nr. | 42
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47316 | 724
B
C
D
E | [9 empty] | 923 | 943 | 915
F
G
H
Time [s] | 419.358
Temp. [°C] | 33.1
Cycle Nr. | 43
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47344 | 742
B
C
D
E | [9 empty] | 915 | 917 | 899
F
G
H
Time [s] | 429.361
Temp. [°C] | 33.1
Cycle Nr. | 44
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47496 | 723
B
C
D
E | [9 empty] | 899 | 929 | 870
F
G
H
Time [s] | 439.34
Temp. [°C] | 33.1
Cycle Nr. | 45
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47531 | 746
B
C
D
E | [9 empty] | 891 | 908 | 883
F
G
H
Time [s] | 449.353
Temp. [°C] | 33.1
Cycle Nr. | 46
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47577 | 775
B
C
D
E | [9 empty] | 894 | 908 | 904
F
G
H
Time [s] | 459.35
Temp. [°C] | 33.1
Cycle Nr. | 47
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47363 | 742
B
C
D
E | [9 empty] | 865 | 880 | 871
F
G
H
Time [s] | 469.349
Temp. [°C] | 33.1
Cycle Nr. | 48
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47297 | 730
B
C
D
E | [9 empty] | 877 | 855 | 860
F
G
H
Time [s] | 479.351
Temp. [°C] | 33.1
Cycle Nr. | 49
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47206 | 751
B
C
D
E | [9 empty] | 840 | 876 | 852
F
G
H
Time [s] | 489.34
Temp. [°C] | 33.1
Cycle Nr. | 50
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47374 | 734
B
C
D
E | [9 empty] | 861 | 876 | 847
F
G
H
Time [s] | 499.326
Temp. [°C] | 33.1
Cycle Nr. | 51
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47099 | 725
B
C
D
E | [9 empty] | 849 | 838 | 864
F
G
H
Time [s] | 509.328
Temp. [°C] | 33.1
Cycle Nr. | 52
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47271 | 737
B
C
D
E | [9 empty] | 862 | 843 | 805
F
G
H
Time [s] | 519.332
Temp. [°C] | 33.1
Cycle Nr. | 53
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47688 | 752
B
C
D
E | [9 empty] | 862 | 854 | 827
F
G
H
Time [s] | 529.328
Temp. [°C] | 33.1
Cycle Nr. | 54
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47252 | 702
B
C
D
E | [9 empty] | 844 | 832 | 800
F
G
H
Time [s] | 539.331
Temp. [°C] | 33.1
Cycle Nr. | 55
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47044 | 723
B
C
D
E | [9 empty] | 812 | 838 | 833
F
G
H
Time [s] | 549.341
Temp. [°C] | 33.1
Cycle Nr. | 56
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47382 | 732
B
C
D
E | [9 empty] | 826 | 851 | 794
F
G
H
Time [s] | 559.335
Temp. [°C] | 33.1
Cycle Nr. | 57
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 46863 | 716
B
C
D
E | [9 empty] | 803 | 828 | 811
F
G
H
Time [s] | 569.329
Temp. [°C] | 33.1
Cycle Nr. | 58
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47100 | 742
B
C
D
E | [9 empty] | 813 | 811 | 806
F
G
H
Time [s] | 579.343
Temp. [°C] | 33.1
Cycle Nr. | 59
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47168 | 740
B
C
D
E | [9 empty] | 829 | 805 | 795
F
G
H
Time [s] | 589.338
Temp. [°C] | 33.2
Cycle Nr. | 60
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | 47362 | 751
B
C
D
E | [9 empty] | 819 | 823 | 782
F
G
H
End Time |  |  |  | 2022-08-11 14:56:41