## Slide 1: Going beyond MicroMagellan: Developing a New acquisition method

## Slide 2: Order of Operations
Establish micromagellan surface
Use method to grab XY points from MM
Use method to focus z at each XY point via brenner
Method to determine order for snake pattern of XYZ points
Push XYZ points into MDA in set order as above
Set acq parameters
Acq with MDA

## Slide 3: Needed Methods
f(MM surface) = XY points
f(XY points) = XYZ points where z is auto focused
f(XYZ points) = list that is order that points need acquired in
Set acq parameters for MDA
f([channel list], [XYZ points], [points order list], save_dir) = acq all images via MDA in snake order
Module Completed
Module needs created

## Slide 4: Limitations
Rectilinear tiled setup (does this have to be though?)
Autoexpose depends on being over tissue. If I don’t have tissue in a spot, then it will give nonsense back, ie. if tissue isn’t in the center point, everything will be messed up.